## Cover
Cloud Infrastructure — Data Centre Colocation |  | FINAMODEL.com
Project Finance Model ¦ 7-Year Hold ¦ Phase 1 + Phase 2 Build
PROJECT OVERVIEW
Phase 1: | $100M capex, 10 MW IT load, online Year 2
Phase 2: | $80M capex, 10 MW IT load, online Year 5
Total capex: | $180M (excl. IDC) — 65% debt / 35% equity
Hold period: | 7 years, exit at end of Year 7 via EV/EBITDA
Debt structure: | Two-tranche project finance; sculpted to 1.30x target DSCR
TAB COLOUR KEY
Dark Blue | Cover / Section headers
Blue | Assumptions / Timing
Orange | Construction / Opex / Capex+Depr
Green | Capacity / Revenue
Red | Tax / Debt / Checks
Grey | Waterfall / BS / CFS / Returns
COLOUR CONVENTIONS
Blue text | Hardcoded input (Assumptions sheet only)
Black text | Formula
Green text | Cross-sheet link (rare; mostly direct formula refs)
Yellow fill | Input cell
About this model
This cloud infrastructure cost model forecasts a company's spending on compute, storage, and networking services and optimises reserved instance purchasing strategy. It projects total cloud spend by service type and region; calculates reserved instance ROI by comparing one-year, three-year, and savings plans against on-demand rates; and derives per-user and per-transaction unit economics. The model includes multi-cloud pricing comparison (AWS, Azure, GCP) with assumptions for discounting intensity and negotiation leverage, linking cloud cost to product adoption metrics so users can see the cost-per-unit scalability of the business. The model builds cloud spend drivers from first principles: compute hour forecasts by instance type (VM family, vCPU count), storage capacity by tier (standard, performance, archive), and data transfer by region. It applies blended rates by service class and generates scenarios showing on-demand vs. reserved vs. spot pricing economics. The output includes a cost waterfall showing the impact of reserved instance purchasing, a per-unit cost trend, and a capex vs. opex trade-off analysis for on-premises alternatives. This model is used by CFOs and cloud architects performing cost optimisation reviews, finance teams building annual cloud budgets, and startups understanding cost-of-goods-sold per customer as they scale. It surfaces cost drivers that otherwise hide in hundreds of service line items, enabling finance and engineering to collaborate on cost-conscious architecture decisions.
About Finamodel
A free, open library of institutional-quality financial models covering every industry — banking, real estate, energy, SaaS, biotech, infrastructure, and dozens more. Every cell is editable, every formula is transparent, and every template is built to be forked, adapted, and rebuilt for your own use case. MIT-licensed — use them commercially, share them, modify them, no attribution required.
Thanks for downloading my templates! Feel free to check out other free templates on my site.
— Alex Tapio, Founder of Finamodel.com

## Assumptions
Assumptions
All model inputs. Column C is the named-range single-cell anchor.
BASE YEAR
Base Year | 2025 | calendar yr | Year 1 = Base_Year
CAPACITY
Phase 1 IT Capacity | 10 | MW | Phase 1 facility load
Phase 2 IT Capacity | 10 | MW | Phase 2 facility load
Total Facility Capacity | 20 | MW | Phase 1 + Phase 2
Phase 1 Rack Count | 850 | racks | Mixed density
Phase 2 Rack Count | 700 | racks | Higher HD share — AI/GPU build
kW per Rack — Low Density | 6 | kW | Legacy enterprise workloads
kW per Rack — High Density | 15 | kW | AI/GPU workloads
High-Density Rack Mix | 45% | % | Share of HD racks across both phases
Stabilised Tenant Count | 22 | tenants | Wholesale + retail blended
Anchor Tenant Revenue Share | 35% | % | Hyperscale anchor tenant — concentration risk
CONSTRUCTION COSTS
Shell Build Cost | 3500000 | $/MW | Core & shell for full 20 MW built in Y1
MEP Fit-Out Cost | 6500000 | $/MW | MEP per MW (per phase)
REVENUE ASSUMPTIONS
Base Rent (Year 2) | 115 | $/kW/month | Blended wholesale + retail
Rent Escalator | 2.5% | % p.a. | Contractual escalator
Hours Per Year | 8760 | hrs/yr | Named range — never hardcode
PUE — Year 1 | 1.4 | ratio | Commissioning year
PUE — Year 2 | 1.37 | ratio
PUE — Year 3 | 1.34 | ratio
PUE — Year 4 | 1.31 | ratio
PUE — Year 5 | 1.29 | ratio
PUE — Year 6 | 1.28 | ratio
PUE — Year 7 | 1.27 | ratio | Stabilised — best-in-class trajectory
Electricity Rate (Y2) | 0.085 | $/kWh | Year 2 base; escalated annually
Power Rate Escalator | 3% | % p.a. | Tariff escalator
Power Admin Markup | 4% | % over cost | Pass-through margin
kW Per Cross-Connect | 200 | kW
Cross-Connect Fee | 350 | $/conn/month
NRC Per kW | 75 | $/kW | One-time install fee
OPEX ASSUMPTIONS
Site Labour (NOC + engineers) | 35000 | $/MW/yr
Maintenance Contracts (UPS/genset/chiller) | 25000 | $/MW/yr
Repairs & Spares | 0.5% | % of revenue
Bandwidth / Peering | 12000 | $/MW/yr
Cybersecurity & Compliance | 9000 | $/MW/yr
Insurance | 0.4% | % of capex
Property Tax | 0.6% | % of capex
SG&A | 4% | % of revenue
Opex Escalator | 2.5% | % p.a.
Maintenance Capex | 2.5% | % of revenue
Annual Churn | 3% | % p.a. | Drag on net occupancy
DEPRECIATION
Shell Useful Life | 35 | years
MEP Useful Life | 12 | years
Maint Capex Life | 7 | years
WORKING CAPITAL
DSO Days | 35 | days
DPO Days | 45 | days
DEBT & DSRA
Gearing | 65% | % of total cost | Standard project finance LTC
All-In Rate | 6.5% | % p.a.
Target DSCR | 1.3 | x
Min DSCR | 1.2 | x | Lender covenant floor
DSRA Months | 6 | months
TAX & RETURNS
Tax Rate | 25% | %
Discount Rate (WACC) | 8.5% | %
Exit EV/EBITDA | 15 | x | Conservative — DC sector median 16-22x
Exit Cap Rate | 5.5% | % | Secondary cross-check on EV/EBITDA
OCCUPANCY RAMP
Phase 1 Occ Y2 | 72% | % | Anchor + 1-2 colos signed at launch
Phase 1 Occ Y3 | 82% | %
Phase 1 Occ Y4 | 90% | %
Phase 1 Occ Y5 | 93% | %
Phase 1 Occ Y6 | 94% | %
Phase 1 Occ Y7 | 94% | % | Stabilised
Phase 2 Occ Y4 | 0% | % | Phase 2 not online
Phase 2 Occ Y5 | 55% | % | Phase 2 online — anchor signed
Phase 2 Occ Y6 | 80% | %
Phase 2 Occ Y7 | 88% | % | Stabilised
OPERATING RESERVE
Operations Reserve (Y1) | 13500000 | $ | Equity-funded cash buffer for ramp period

## Timing
Timing
Period counter and operating-state flags. Drives all time logic.
PERIOD INDEX
Period | 1 | 2 | 3 | 4 | 5 | 6 | 7
Calendar Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
OPERATING FLAGS
Phase 1 Construction | 1 | 0 | 0 | 0 | 0 | 0 | 0
Phase 2 Construction (Y3-Y4) | 0 | 0 | 1 | 1 | 0 | 0 | 0
Any Construction | 1 | 0 | 1 | 1 | 0 | 0 | 0
Operations (Y2+) | 0 | 1 | 1 | 1 | 1 | 1 | 1
Phase 1 Online (Y2+) | 0 | 1 | 1 | 1 | 1 | 1 | 1
Phase 2 Online (Y5+) | 0 | 0 | 0 | 0 | 1 | 1 | 1
Debt Service Period (Y2+) | 0 | 1 | 1 | 1 | 1 | 1 | 1

## Construction
Construction
Capex draws, IDC capitalised by tranche, equity injection, DSRA seed.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
CAPEX DRAWS
Phase 1 Draw | 135000000 | 0 | 0 | 0 | 0 | 0 | 0
Phase 2 Draw | 0 | 0 | 32500000 | 32500000 | 0 | 0 | 0
Total Capex Draw | 135000000 | 0 | 32500000 | 32500000 | 0 | 0 | 0
FUNDING SPLIT
Equity Injection (capex) | 47250000 | 0 | 11375000 | 11375000 | 0 | 0 | 0
Debt Draw — Phase 1 Tranche | 87750000 | 0 | 0 | 0 | 0 | 0 | 0
Debt Draw — Phase 2 Tranche | 0 | 0 | 21125000 | 21125000 | 0 | 0 | 0
Total Debt Draw | 87750000 | 0 | 21125000 | 21125000 | 0 | 0 | 0
CUMULATIVE DEBT BY TRANCHE
Cumul Debt — Phase 1 | 87750000 | 87750000 | 87750000 | 87750000 | 87750000 | 87750000 | 87750000
Cumul Debt — Phase 2 | 0 | 0 | 21125000 | 42250000 | 42250000 | 42250000 | 42250000
IDC (INTEREST DURING CONSTRUCTION)
IDC — Phase 1 (Y1) | 2851875 | 0 | 0 | 0 | 0 | 0 | 0
IDC — Phase 2 (Y3-Y4) | 0 | 0 | 686562.5 | 2104314.0625 | 0 | 0 | 0
Total IDC | 2851875 | 0 | 686562.5 | 2104314.0625 | 0 | 0 | 0
Cumul IDC | 2851875 | 2851875 | 3538437.5 | 5642751.5625 | 5642751.5625 | 5642751.5625 | 5642751.5625
CUMULATIVE CAPEX
Cumul Construction Capex | 135000000 | 135000000 | 167500000 | 200000000 | 200000000 | 200000000 | 200000000
Gross PP&E Add (capex + IDC) | 137851875 | 137851875 | 171038437.5 | 205642751.5625 | 205642751.5625 | 205642751.5625 | 205642751.5625
DSRA SEED (equity-funded at close)
DSRA Seed | 2851875 | 0 | 0 | 0 | 0 | 0 | 0

## CapacityRamp
Capacity & Occupancy Ramp
Phase capacity (kW), gross/net occupancy, billed kW, rack economics, PUE schedule.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
INSTALLED CAPACITY (kW)
Phase 1 Online (kW) | 0 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Phase 2 Online (kW) | 0 | 0 | 0 | 0 | 10000 | 10000 | 10000
Total Online (kW) | 0 | 10000 | 10000 | 10000 | 20000 | 20000 | 20000
OCCUPANCY (NET OF CHURN)
Phase 1 Net Occupancy | 0% | 72% | 79.84% | 87.54% | 90.3% | 91.21% | 91.18%
Phase 2 Net Occupancy | 0% | 0% | 0% | 0% | 55% | 78.35% | 85.6%
Annual Churn Rate | 0% | 3% | 3% | 3% | 3% | 3% | 3%
BILLED CAPACITY (kW)
Phase 1 Billed (kW) | 0 | 7200 | 7984 | 8754 | 9030 | 9121 | 9118
Phase 2 Billed (kW) | 0 | 0 | 0 | 0 | 5500 | 7835 | 8560
Total Billed (kW) | 0 | 7200 | 7984 | 8754 | 14530 | 16956 | 17678
New kW Signed | 0 | 7200 | 784 | 770 | 5776 | 2426 | 722
PUE SCHEDULE
PUE (Power Usage Effectiveness) | 1.4 | 1.37 | 1.34 | 1.31 | 1.29 | 1.28 | 1.27
RACK-LEVEL ECONOMICS (P3 depth)
Total Racks Online | 0 | 850 | 850 | 850 | 1550 | 1550 | 1550
High-Density Racks | 0 | 382.5 | 382.5 | 382.5 | 697.5 | 697.5 | 697.5
Low-Density Racks | 0 | 467.5 | 467.5 | 467.5 | 852.5 | 852.5 | 852.5
Avg kW / Rack (blended) | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 | 10.05
Billed Racks (occupancy-weighted) | 0 | 612 | 678.64 | 744.09 | 1126.075 | 1314.09 | 1370.045

## Revenue
Revenue
Space rent, power pass-through (annual escalator), cross-connects, NRC.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
SPACE RENT
Rent Rate ($/kW/mo) | 115 | 115 | 117.875 | 120.8219 | 123.8424 | 126.9385 | 130.1119
Space Rent Revenue | 0 | 9936000 | 11293368 | 12692096.325 | 21593164.6781 | 25828426.8953 | 27601427.4547
POWER PASS-THROUGH
Total Power kWh | 0 | 86408640 | 93719385.6 | 100457402.4 | 164194812 | 190124236.8 | 196671285.6
Electricity Rate ($/kWh) | 0.085 | 0.085 | 0.08755 | 0.090177 | 0.092882 | 0.095668 | 0.098538
Power Cost (utility) | 0 | 7344734.4 | 8205132.2093 | 9058896.9475 | 15250708.8682 | 18188852.7986 | 19379653.4172
Power Pass-Through Revenue | 0 | 7638523.776 | 8533337.4977 | 9421252.8254 | 15860737.223 | 18916406.9105 | 20154839.5539
CROSS-CONNECTS
Cross-Connect Count | 0 | 36 | 39 | 43 | 72 | 84 | 88
Cross-Connect Revenue | 0 | 151200 | 163800 | 180600 | 302400 | 352800 | 369600
NRC
Non-Recurring Charges | 0 | 540000 | 58800 | 57750 | 433200 | 181950 | 54150
TOTAL REVENUE
TOTAL REVENUE | 0 | 18265723.776 | 20049305.4977 | 22351699.1504 | 38189501.9011 | 45279583.8059 | 48180017.0086

## Opex
Opex
Power cost pulled from Revenue. Facility opex split into 5 sub-lines.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
POWER (COGS)
Power Cost (COGS) | 0 | 7344734.4 | 8205132.2093 | 9058896.9475 | 15250708.8682 | 18188852.7986 | 19379653.4172
FACILITY OPEX (split)
Online MW | 0 | 10 | 10 | 10 | 20 | 20 | 20
Escalator Factor | 0 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597
Site Labour (NOC + engineers) | 0 | 358750 | 367718.75 | 376911.7188 | 772669.0234 | 791985.749 | 811785.3927
Maintenance Contracts (UPS/genset/chiller) | 0 | 256250 | 262656.25 | 269222.6562 | 551906.4453 | 565704.1064 | 579846.7091
Repairs & Spares | 0 | 91328.6189 | 100246.5275 | 111758.4958 | 190947.5095 | 226397.919 | 240900.085
Bandwidth / Peering | 0 | 123000 | 126075 | 129226.875 | 264915.0938 | 271537.9711 | 278326.4204
Cybersecurity & Compliance | 0 | 92250 | 94556.25 | 96920.1562 | 198686.3203 | 203653.4783 | 208744.8153
Total Facility Opex | 0 | 921578.6189 | 951252.7775 | 984039.902 | 1979124.3923 | 2059279.2239 | 2119603.4225
PROPERTY TAX & INSURANCE
Insurance | 0 | 540000 | 670000 | 800000 | 800000 | 800000 | 800000
Property Tax | 0 | 810000 | 1005000 | 1200000 | 1200000 | 1200000 | 1200000
SG&A
SG&A | 0 | 730628.951 | 801972.2199 | 894067.966 | 1527580.076 | 1811183.3522 | 1927200.6803
TOTALS
Total Opex (excl. power) | 0 | 3002207.5699 | 3428224.9974 | 3878107.868 | 5506704.4684 | 5870462.5761 | 6046804.1029
TOTAL OPEX | 0 | 10346941.9699 | 11633357.2067 | 12937004.8155 | 20757413.3366 | 24059315.3747 | 25426457.5201
EBITDA
EBITDA | 0 | 7918781.8061 | 8415948.291 | 9414694.3349 | 17432088.5645 | 21220268.4311 | 22753559.4885
EBITDA Margin | 0% | 43.35% | 41.98% | 42.12% | 45.65% | 46.86% | 47.23%

## Capex_Depr
Capex & Depreciation
Maintenance capex (capitalised to PP&E). Phased shell / MEP depreciation.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
MAINTENANCE CAPEX
Maintenance Capex | 0 | 456643.0944 | 501232.6374 | 558792.4788 | 954737.5475 | 1131989.5951 | 1204500.4252
Cumul Maintenance Capex | 0 | 456643.0944 | 957875.7318 | 1516668.2106 | 2471405.7581 | 3603395.3533 | 4807895.7785
GROSS PP&E
Gross PP&E | 137851875 | 138308518.0944 | 171996313.2318 | 207159419.7731 | 208114157.3206 | 209246146.9158 | 210450647.341
DEPRECIATION — SHELL
Shell — Phase 1 only | 0 | 1000000 | 1000000 | 1000000 | 0 | 0 | 0
Shell — full facility | 0 | 0 | 0 | 0 | 2000000 | 2000000 | 2000000
Total Shell Depreciation | 0 | 1000000 | 1000000 | 1000000 | 2000000 | 2000000 | 2000000
DEPRECIATION — MEP
MEP — Phase 1 | 0 | 5416666.6667 | 5416666.6667 | 5416666.6667 | 5416666.6667 | 5416666.6667 | 5416666.6667
MEP — Phase 2 | 0 | 0 | 0 | 0 | 5416666.6667 | 5416666.6667 | 5416666.6667
Total MEP Depreciation | 0 | 5416666.6667 | 5416666.6667 | 5416666.6667 | 10833333.3333 | 10833333.3333 | 10833333.3333
DEPRECIATION — MAINTENANCE
Maint Capex Depreciation | 0 | 65234.7278 | 136839.3903 | 216666.8872 | 353057.9654 | 514770.7648 | 686842.2541
TOTALS
TOTAL DEPRECIATION | 0 | 6481901.3944 | 6553506.0569 | 6633333.5539 | 13186391.2988 | 13348104.0981 | 13520175.5874
Cumul Depreciation | 0 | 6481901.3944 | 13035407.4514 | 19668741.0053 | 32855132.304 | 46203236.4021 | 59723411.9895
Net PP&E | 137851875 | 131826616.7 | 158960905.7805 | 187490678.7678 | 175259025.0166 | 163042910.5136 | 150727235.3515

## Tax
Tax
Taxable income with NOL carry-forward. Interest wired after Debt sheet.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
TAX P&L
EBITDA | 0 | 7918781.8061 | 8415948.291 | 9414694.3349 | 17432088.5645 | 21220268.4311 | 22753559.4885
DEDUCTIONS
Depreciation | 0 | 6481901.3944 | 6553506.0569 | 6633333.5539 | 13186391.2988 | 13348104.0981 | 13520175.5874
Interest Expense | 0 | 5889121.875 | 5889121.875 | 5876179.0142 | 8742992.5339 | 8487419.4977 | 8034687.8233
PRE-NOL EBT
EBT (pre-NOL) | 0 | -4452241.4634 | -4026679.641 | -3094818.2332 | -4497295.2682 | -615255.1647 | 1198696.0778
NOL ROLL-FORWARD
NOL Opening | 0 | 0 | 4452241.4634 | 8478921.1043 | 11573739.3375 | 16071034.6057 | 16686289.7704
NOL Utilised | 0 | 0 | 0 | 0 | 0 | 0 | 1198696.0778
NOL Addition | 0 | 4452241.4634 | 4026679.641 | 3094818.2332 | 4497295.2682 | 615255.1647 | 0
NOL Closing | 0 | 4452241.4634 | 8478921.1043 | 11573739.3375 | 16071034.6057 | 16686289.7704 | 15487593.6925
TAX PAYABLE
Taxable Income | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Payable | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Waterfall
Cash Flow Waterfall
CFADS → debt service → levered FCF → DSRA → distributions → equity CF.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
CFADS BUILD
EBITDA | 0 | 7918781.8061 | 8415948.291 | 9414694.3349 | 17432088.5645 | 21220268.4311 | 22753559.4885
Less: Tax Payable | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: Maintenance Capex | 0 | 456643.0944 | 501232.6374 | 558792.4788 | 954737.5475 | 1131989.5951 | 1204500.4252
CFADS | 0 | 7462138.7117 | 7914715.6535 | 8855901.8561 | 16477351.017 | 20088278.836 | 21549059.0633
DEBT SERVICE
Interest | 0 | 5889121.875 | 5889121.875 | 5876179.0142 | 8742992.5339 | 8487419.4977 | 8034687.8233
Principal Repayment | 0 | 0 | 199120.9354 | 936053.1828 | 3931892.8638 | 6965102.6838 | 8541511.4562
Total Debt Service | 0 | 5889121.875 | 6088242.8104 | 6812232.197 | 12674885.3977 | 15452522.1815 | 16576199.2795
LEVERED FCF (P3 line)
Levered FCF (CFADS − Total DS) | 0 | 1573016.8367 | 1826472.8431 | 2043669.6591 | 3802465.6193 | 4635756.6545 | 4972859.7838
DSRA & DISTRIBUTIONS
DSRA Movement | 2851875 | 92685.9375 | 99560.4677 | 361994.6933 | 2931326.6003 | 1388818.3919 | 561838.549
Cash Avail for Dist. | -2851875 | 1480330.8992 | 1726912.3754 | 1681674.9658 | 871139.019 | 3246938.2625 | 4411021.2349
Distributions | 0 | 1480330.8992 | 1726912.3754 | 1681674.9658 | 871139.019 | 3246938.2625 | 4411021.2349
Equity Cash Flow | -63601875 | 1480330.8992 | -9648087.6246 | -9693325.0342 | 871139.019 | 3246938.2625 | 4411021.2349

## Debt
Debt Schedule
Two tranches: Phase 1 (Y2+ interest) and Phase 2 (Y3-Y4 IDC, then Y5+ interest).
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
PHASE 1 TRANCHE
Opening Balance | 0 | 90601875 | 90601875 | 90402754.0646 | 89648645.4244 | 87028057.9758 | 82385850.9514
Drawdown | 87750000 | 0 | 0 | 0 | 0 | 0 | 0
IDC Capitalised | 2851875 | 0 | 0 | 0 | 0 | 0 | 0
Interest Expense | 0 | 5889121.875 | 5889121.875 | 5876179.0142 | 5827161.9526 | 5656823.7684 | 5355080.3118
Principal Repayment | 0 | 0 | 199120.9354 | 754108.6402 | 2620587.4486 | 4642207.0244 | 5692875.7953
Closing Balance | 90601875 | 90601875 | 90402754.0646 | 89648645.4244 | 87028057.9758 | 82385850.9514 | 76692975.156
PHASE 2 TRANCHE
Opening Balance | 0 | 0 | 0 | 21811562.5 | 44858932.0199 | 43547626.6047 | 41224730.9453
Drawdown | 0 | 0 | 21125000 | 21125000 | 0 | 0 | 0
IDC Capitalised | 0 | 0 | 686562.5 | 2104314.0625 | 0 | 0 | 0
Interest Expense | 0 | 0 | 0 | 0 | 2915830.5813 | 2830595.7293 | 2679607.5114
Principal Repayment | 0 | 0 | 0 | 181944.5426 | 1311305.4152 | 2322895.6594 | 2848635.6608
Closing Balance | 0 | 0 | 21811562.5 | 44858932.0199 | 43547626.6047 | 41224730.9453 | 38376095.2845
AGGREGATE DEBT SERVICE
Total Interest Expense | 0 | 5889121.875 | 5889121.875 | 5876179.0142 | 8742992.5339 | 8487419.4977 | 8034687.8233
CFADS | 0 | 7462138.7117 | 7914715.6535 | 8855901.8561 | 16477351.017 | 20088278.836 | 21549059.0633
Target Debt Service (CFADS/Target) | 0 | 5740106.7013 | 6088242.8104 | 6812232.197 | 12674885.3977 | 15452522.1815 | 16576199.2795
Total Principal Repayment | 0 | 0 | 199120.9354 | 936053.1828 | 3931892.8638 | 6965102.6838 | 8541511.4562
Total Debt Service | 0 | 5889121.875 | 6088242.8104 | 6812232.197 | 12674885.3977 | 15452522.1815 | 16576199.2795
Total Debt Outstanding | 90601875 | 90601875 | 112214316.5646 | 134507577.4443 | 130575684.5805 | 123610581.8967 | 115069070.4405
DSCR (Actual) | 0 | 1.2671 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
DSRA
DSRA Target | 2851875 | 2944560.9375 | 3044121.4052 | 3406116.0985 | 6337442.6988 | 7726261.0908 | 8288099.6397
DSRA Opening | 0 | 2851875 | 2944560.9375 | 3044121.4052 | 3406116.0985 | 6337442.6988 | 7726261.0908
DSRA Transfer | 2851875 | 92685.9375 | 99560.4677 | 361994.6933 | 2931326.6003 | 1388818.3919 | 561838.549
DSRA Closing | 2851875 | 2944560.9375 | 3044121.4052 | 3406116.0985 | 6337442.6988 | 7726261.0908 | 8288099.6397

## CashFlow
Cash Flow Statement
Indirect method. IDC is non-cash and is excluded from financing.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
OPERATING
Net Income | 0 | -4452241.4634 | -4026679.641 | -3094818.2332 | -4497295.2682 | -615255.1647 | 1198696.0778
Add: Depreciation | 0 | 6481901.3944 | 6553506.0569 | 6633333.5539 | 13186391.2988 | 13348104.0981 | 13520175.5874
Less: Change in AR | 0 | -1751507.7593 | -171028.3843 | -220777.4736 | -1518693.4144 | -679870.8676 | -278123.7318
Add: Change in AP | 0 | 1019134.4818 | 109734.9002 | 109300.9146 | 886055.7219 | 372119.0254 | 154248.2651
OPERATING CASH FLOW | 0 | 1297286.6535 | 2465532.9319 | 3427038.7617 | 8056458.3381 | 12425097.0913 | 14594996.1986
INVESTING
Construction Capex | -135000000 | 0 | -32500000 | -32500000 | 0 | 0 | 0
Maintenance Capex | 0 | -456643.0944 | -501232.6374 | -558792.4788 | -954737.5475 | -1131989.5951 | -1204500.4252
INVESTING CASH FLOW | -135000000 | -456643.0944 | -33001232.6374 | -33058792.4788 | -954737.5475 | -1131989.5951 | -1204500.4252
FINANCING
Debt Drawdown | 87750000 | 0 | 21125000 | 21125000 | 0 | 0 | 0
Debt Repayment | 0 | 0 | -199120.9354 | -936053.1828 | -3931892.8638 | -6965102.6838 | -8541511.4562
Equity Injection | 63601875 | 0 | 11375000 | 11375000 | 0 | 0 | 0
Distributions Paid | 0 | -1480330.8992 | -1726912.3754 | -1681674.9658 | -871139.019 | -3246938.2625 | -4411021.2349
DSRA Movement (− = deposit) | -2851875 | -92685.9375 | -99560.4677 | -361994.6933 | -2931326.6003 | -1388818.3919 | -561838.549
FINANCING CASH FLOW | 148500000 | -1573016.8367 | 30474406.2215 | 29520277.1581 | -7734358.4831 | -11600859.3383 | -13514371.24
NET CASH MOVEMENT
Net Cash Flow | 13500000 | -732373.2776 | -61293.4841 | -111476.559 | -632637.6925 | -307751.8421 | -123875.4666
Opening Cash | 0 | 13500000 | 12767626.7224 | 12706333.2383 | 12594856.6794 | 11962218.9868 | 11654467.1447
CLOSING CASH | 13500000 | 12767626.7224 | 12706333.2383 | 12594856.6794 | 11962218.9868 | 11654467.1447 | 11530591.678

## BalanceSheet
Balance Sheet
Balance check must equal zero in every period.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
ASSETS
Cash (unrestricted) | 13500000 | 12767626.7224 | 12706333.2383 | 12594856.6794 | 11962218.9868 | 11654467.1447 | 11530591.678
Accounts Receivable | 0 | 1751507.7593 | 1922536.1436 | 2143313.6172 | 3662007.0316 | 4341877.8992 | 4620001.631
DSRA (restricted cash) | 2851875 | 2944560.9375 | 3044121.4052 | 3406116.0985 | 6337442.6988 | 7726261.0908 | 8288099.6397
Total Current Assets | 16351875 | 17463695.4193 | 17672990.7871 | 18144286.395 | 21961668.7173 | 23722606.1346 | 24438692.9487
NON-CURRENT ASSETS
Gross PP&E | 137851875 | 138308518.0944 | 171996313.2318 | 207159419.7731 | 208114157.3206 | 209246146.9158 | 210450647.341
Accumulated Depreciation | 0 | -6481901.3944 | -13035407.4514 | -19668741.0053 | -32855132.304 | -46203236.4021 | -59723411.9895
Net PP&E | 137851875 | 131826616.7 | 158960905.7805 | 187490678.7678 | 175259025.0166 | 163042910.5136 | 150727235.3515
TOTAL ASSETS | 154203750 | 149290312.1192 | 176633896.5676 | 205634965.1629 | 197220693.7338 | 186765516.6483 | 175165928.3002
LIABILITIES
Accounts Payable | 0 | 1019134.4818 | 1128869.3819 | 1238170.2965 | 2124226.0184 | 2496345.0439 | 2650593.309
Senior Debt | 90601875 | 90601875 | 112214316.5646 | 134507577.4443 | 130575684.5805 | 123610581.8967 | 115069070.4405
Total Liabilities | 90601875 | 91621009.4818 | 113343185.9465 | 135745747.7408 | 132699910.5989 | 126106926.9406 | 117719663.7495
EQUITY
Opening Equity | 0 | 63601875 | 57669302.6375 | 63290710.6211 | 69889217.4221 | 64520783.1349 | 60658589.7077
Equity Injection | 63601875 | 0 | 11375000 | 11375000 | 0 | 0 | 0
Net Income | 0 | -4452241.4634 | -4026679.641 | -3094818.2332 | -4497295.2682 | -615255.1647 | 1198696.0778
Distributions | 0 | -1480330.8992 | -1726912.3754 | -1681674.9658 | -871139.019 | -3246938.2625 | -4411021.2349
Closing Equity | 63601875 | 57669302.6375 | 63290710.6211 | 69889217.4221 | 64520783.1349 | 60658589.7077 | 57446264.5507
TOTAL L + E | 154203750 | 149290312.1192 | 176633896.5676 | 205634965.1629 | 197220693.7338 | 186765516.6483 | 175165928.3002
Balance Check (must = 0) | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Returns
Returns
Project IRR (unlevered), Equity IRR (levered), NPV, MoM, anchor concentration.
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
PROJECT CASH FLOW (UNLEVERED)
Project Cash Flow | -135000000 | 7462138.7117 | -24585284.3465 | -23644098.1439 | 16477351.017 | 20088278.836 | 362852451.3911
EQUITY CASH FLOW (LEVERED)
Equity Cash Flow | -63601875 | 1480330.8992 | -9648087.6246 | -9693325.0342 | 871139.019 | 3246938.2625 | 230645343.1222
EXIT VALUATION (Y7)
Exit Year EBITDA | 22753559.4885
Exit EV (EV/EBITDA primary) | 341303392.3278
Debt Outstanding at Exit | 115069070.4405
Exit Equity Proceeds | 226234321.8873
Exit EV — Cap Rate cross-check | 413701081.6094 |  | Comparator only; not used in IRR stream
HEADLINE RETURNS
Project IRR (unlevered) | 16.74%
Equity IRR (levered) | 21.21%
Project NPV @ Discount Rate | 73861908.6394
Total Equity Invested | 82943287.6588
Total Equity Proceeds | 236243751.3028
Equity Multiple (MoM) | 2.8483
Y7 Anchor Tenant Revenue | 16863005.953 |  | Anchor = Anchor_Share of stabilised revenue (concentration risk)
Y7 Avg Revenue per Tenant | 2190000.7731 |  | Total revenue / Tenant_Count

## Checks
Checks
PASS / FAIL only.
MODEL INTEGRITY CHECKS | Result | Description
BS Balance (all years) | PASS | Balance Sheet must balance every year (tolerance $1)
Cash Non-Negative | PASS | Model would default; not fundable
DSCR Covenant (Y2-Y7) | PASS | Lender covenant ≥ Min_DSCR across full operations period
EBITDA Margin Y7 (45-65%) | PASS | Stabilised Y7 EBITDA margin must sit in target band
Equity IRR Numeric & Positive | PASS | IRR stream resolves to a positive number
Debt Declining (Y7 ≤ Y4 peak) | PASS | Sculpted amortisation should pay debt down post-Y4 peak
DSRA Non-Negative | PASS | Reserve account must stay non-negative
Billed ≤ Online Capacity | PASS | Billed kW cannot exceed installed capacity
PUE > 1.0 | PASS | Basic sanity on PUE assumption
Exit Value in Y7 Equity CF | PASS | Exit proceeds must be added to the IRR stream
OVERALL | ALL PASS

## Disclaimer
Disclaimer, Copyright & License
Disclaimer
This financial model ("the Model") is provided by Finamodel for illustrative and educational purposes only. It is a template — not a finished analysis, valuation, recommendation, or solicitation to buy, sell, or hold any security, asset, or financial instrument.
No investment advice
Nothing in the Model constitutes investment, legal, tax, accounting, or other professional advice. You should consult qualified advisors before making any financial decision. Outputs depend entirely on user-supplied assumptions; small changes to inputs can produce materially different results.
No warranty
The Model is provided "AS IS," without warranty of any kind, express or implied, including but not limited to warranties of merchantability, fitness for a particular purpose, accuracy, completeness, or non-infringement. Formulas, methodologies, and benchmarks may contain errors, omissions, or simplifications. Users are solely responsible for verifying every calculation before relying on it.
Limitation of liability
To the maximum extent permitted by law, Finamodel and its contributors shall not be liable for any direct, indirect, incidental, consequential, special, or exemplary damages — including lost profits, lost opportunities, or investment losses — arising from use of, or inability to use, the Model.
Forward-looking statements
Any projections, forecasts, or scenarios are hypothetical, based on assumptions that may not materialize, and do not represent guaranteed outcomes.
Third-party data
Where the Model references market data, comparables, or macro indicators, such data is sourced from third parties believed to be reliable but is not independently verified.
Copyright © 2026 Finamodel. All rights reserved.
License — MIT
Permission is hereby granted, free of charge, to any person obtaining a copy of this Model and associated documentation files (the "Software"), to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, and/or sell copies of the Software, and to permit persons to whom the Software is furnished to do so, subject to the following conditions: The above copyright notice and this permission notice shall be included in all copies or substantial portions of the Software. THE SOFTWARE IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE.
Finamodel — github.com/alextapio/finamodel